## DGUV V3 test list
Test report for electrical equipment – DGUV V3 test list · template by AMS Go (amsgo.de/en/templates/dguv-v3-test-report-template)
One row per item of equipment and test. Limit values: R PE ≤ 0.3 Ω (up to 5 m), R ISO ≥ 1 MΩ (PC I) or ≥ 2 MΩ (PC II), I PE ≤ 3.5 mA, I B ≤ 0.5 mA.
Inventory no. | Equipment | Manufacturer / type | Location | Protection class | Visual inspection | R PE (Ω) | R ISO (MΩ) | I PE / I B (mA) | Functional test | Result | Test date | Interval (months) | Next test | Tester | Test device | Comment / defects
E-001 | Hand drill | Bosch GSB 13 | Workshop | II | OK |  |  |  | OK | Passed |  | 6 |  |  |  | Example row – please overwrite
Formulas:
Next test = IF(AND([Test date]<>"",[Interval (months)]<>""),EDATE([Test date],[Interval (months)]),"")

## Failure rate
Test report for electrical equipment – Failure rate · template by AMS Go (amsgo.de/en/templates/dguv-v3-test-report-template)
Failure rate = failed tests ÷ all tests. If it is below 2 %, the test interval can be extended (offices max. 2 years, otherwise max. 1 year).
Test round (period) | Equipment tested | Of which failed | Failure rate | Interval set | Justification